## Velocity Report
parent_asset_name | child_asset_name | endpoint_name | mount_location | latest_timestamp | rms_axial | rms_vertical | rms_horizontal | data_points
Blower | Apothecon | Pump DE | DE | 2024-03-05 07:16 | 3.45 | 4.04 |  | 6
Blower | GACL | Motor | DE | 2024-03-07 10:00 |  | 1.27 |  | 8
Blower | MACO | ENGINE | DE | 2024-07-20 06:29 | 5.67 | 6.79 | 5.05 | 36
SKF | Motor | Motor | DE | 2024-07-26 13:28 |  |  | 2.93 | 32
Amneal Pharma pvt ltd | Cooling Water Pump-3 | Motor | DE | 2024-08-27 09:50 | 0.99 | 0.77 | 0.82 | 107
demoo | test | No endpoints found | [5 empty] | 0
Equipment-1 | Motor-1 | No endpoints found | [5 empty] | 0
Equipment-1 | Flexible-1 | No endpoints found | [5 empty] | 0
Equipment-1 | Belt-1 | No endpoints found | [5 empty] | 0
Equipment-1 | Gearbox-1 | No endpoints found | [5 empty] | 0
Equipment-1 | Fan-2 | No endpoints found | [5 empty] | 0
Primary Booth ASU V-11 |  | Motor | NDE | 2023-06-05 16:37 | 4.4 | 4.4 | 5.21 | 1
Primary Booth ASU V-11 |  | d | DE | No data | No data | No data | No data | 0
Primary Booth ASU V-11 |  | shiva25 | DE | No data | No data | No data | No data | 0
Primary Booth ASU V-11 |  | Motor | DE | 2024-06-06 05:52 | 2.1 | 1.1 | 1.72 | 10
XLPE Matrix Machine |  | gearbox shaft 2 | DE | No data | No data | No data | No data | 0
XLPE Matrix Machine |  | test | de | No data | No data | No data | No data | 0
XLPE Matrix Machine |  | Gearbox | DE | 2023-04-21 03:30 | 1.33 | 0.27 | 0.15 | 13
XLPE Matrix Machine |  | Gearbox | NDE | 2023-04-21 03:30 | 0.32 | 0.49 | 0.37 | 13
Mixture Machine |  | 32g | DE | 2024-04-10 08:49 | 1.2 | 5.51 | 1.25 | 3
Mixture Machine |  | Motor | DE | 2023-09-05 10:32 | 0.69 | 0.47 | 0.8 | 26
Mixture Machine |  | 8G | DE | 2023-09-27 06:32 | 0.92 | 2.35 | 1.18 | 10
Mixture Machine |  | 16G | DE | 2023-09-05 15:36 | 0.53 | 1.73 | 0.65 | 8
Mixture Machine |  | Motor | NDE | 2024-04-17 08:25 | 0.47 | 7.25 | 0.77 | 1
Mixture Machine |  | dddddddwaf | DE | No data | No data | No data | No data | 0
Die Casting Motor 560 ton-8 |  | Motor | DE | 2023-11-20 21:02 |  |  |  | 911
Die Casting Motor 560 ton-9 |  | Motor | DE | 2023-10-14 23:51 | 0.57 | 0.71 | 0.92 | 210
Test Motor A |  | Motor | DE | 2024-02-29 05:00 |  | 1.24 | 1.28 | 591
Test Motor A |  | Motor | NDE | 2024-02-29 05:20 |  |  |  | 596
test123 |  | No endpoints found | [5 empty] | 0
Blower |  | Motor | DE | 2024-04-01 |  |  |  | 1347
Blower |  | FAN | NDE | 2024-04-12 11:21 |  | 0.98 |  | 8
Blower |  | Motor | NDE | 2024-03-03 09:07 |  |  |  | 341
Blower |  | Fan | DE | 2024-02-28 00:40 |  |  |  | 114
7A Scrubber Motor |  | Motor | DE | 2024-03-28 07:00 |  |  |  | 509
Apothecon |  | Pump DE | DE | 2024-03-05 07:16 | 3.45 | 4.04 |  | 6
GACL |  | Motor | DE | 2024-03-07 10:00 |  | 1.27 |  | 8
bluetooth testing 1 |  | test | de | No data | No data | No data | No data | 0
bluetooth testing 1 |  | 1 | DE | 2024-05-21 07:39 | 4.73 | 7.94 | 5.61 | 1
bluetooth testing 1 |  | 2 | DE | 2024-05-21 07:40 | 2.62 | 4.44 | 3.07 | 2
bluetooth testing 1 |  | 4 | DE | 2024-05-21 06:45 | 4.27 | 7.57 | 5.48 | 1
bluetooth testing 1 |  | 3 | DE | 2024-05-21 07:41 | 4.54 | 7.6 | 5.86 | 2
bluetooth testing 1 |  | nbsf | DE | No data | No data | No data | No data | 0
bluetooth testing 2 |  | 5 | DE | 2024-05-21 06:19 | 0.62 | 0.63 | 0.33 | 1
bluetooth testing 2 |  | 6 | DE | No data | No data | No data | No data | 0
bluetooth testing 2 |  | 7 | DE | No data | No data | No data | No data | 0
Blower Demo |  | Maruti Test | NDE | 2024-05-12 03:28 | 0.48 | 0.97 | 0.55 | 59
Blower Demo |  | Maruti Test | DE | 2024-05-12 03:19 | 1.19 | 1.34 | 1.27 | 23
Demo Colgate |  | Compressor Motor | DE | 2024-06-12 12:00 | 1.45 |  |  | 284
Demo Colgate |  | compressor | NDE | 2024-06-01 12:14 | 1.36 |  |  | 201
BLE TEST NEW TOPICS |  | first | DE | 2024-07-24 12:59 |  |  |  | 4408
BLE TEST NEW TOPICS |  | second | DE | 2024-08-02 10:28 |  |  |  | 4962
BLE TEST NEW TOPICS |  | third | DE | 2024-06-10 10:14 |  |  |  | 1307
BLE TEST NEW TOPICS |  | SAFTLM | DE | 2024-06-20 10:39 | 0.36 | 0.56 |  | 1737
BLE TEST NEW TOPICS |  | fourth | DE | 2024-06-19 09:54 |  |  |  | 2524
BLE TEST NEW TOPICS |  | motor base | DE | 2024-06-19 11:51 |  |  |  | 893
BLE TEST NEW TOPICS |  | darshan | de | 2024-06-18 10:35 |  |  | 0.5 | 1119
WIRED WIFI CONN TEST |  | 24:D7:EB:6A:79:68 | de | No data | No data | No data | No data | 0
Ammonia Compressor Motor |  | Motor | DE | 2024-05-24 05:29 |  |  |  | 80108
Ammonia Compressor Motor |  | Motor | NDE | 2024-05-24 05:29 |  |  |  | 21229
Panacea Blower |  | Compressor Motor | NDE | 2024-06-11 06:40 | 2.8 |  |  | 161
Panacea Blower |  | Compressor Motor | DE | 2025-03-20 15:05 | 2.49 |  |  | 152
Testing 516 |  | sensor rpm | DE | 2024-08-26 09:43 |  |  |  | 4972
Testing 516 |  | MAP SEN 1 | DE | 2024-09-06 10:04 | 0.35 | 0.73 | 0.5 | 15
Testing 516 |  | MAP SEN 2 | DE | 2024-09-06 10:19 | 0.44 | 0.75 | 0.3 | 3
Testing 516 |  | MAP SEN 3 | DE | 2024-09-06 10:20 | 0.4 | 0.95 | 0.26 | 3
Testing 516 |  | MAP SEN 4 | DE | 2024-09-06 10:20 | 0.41 | 1.05 | 0.35 | 4
Testing 516 |  | MAP SEN 6 | DE | 2024-09-06 10:00 | 0.44 | 1 | 0.44 | 6
Testing 516 |  | MAP SEN 7 | DE | 2024-09-06 10:00 | 0.4 | 1.35 | 0.24 | 6
Testing 516 |  | MAP SEN | DE | 2024-09-06 10:00 | 0.4 |  | 0.25 | 6
Testing 516 |  | MAP SEN 5 | DE | 2024-09-06 10:00 | 0.41 | 0.84 | 0.23 | 6
Testing 516 |  | MAP SEN 8 | DE | 2024-09-06 10:21 | 0.38 | 0.79 | 0.19 | 1
Testing 516 |  | TEST 2.O | DE | 2024-07-24 09:11 |  |  |  | 121982
Testing 516 |  | SEN4 | DE | 2024-09-04 10:42 | 0.58 |  | 0.39 | 23
Testing 516 |  | SEN2 | DE | 2024-09-27 08:19 |  |  | 0.68 | 55
Testing 516 |  | SEN 1 | DE | 2024-09-04 10:30 | 0.65 | 0.7 | 0.5 | 30
Testing 516 |  | SEN5 | DE | 2024-09-04 10:44 | 0.89 |  | 0.53 | 23
Testing 516 |  | SEN6 | DE | 2024-07-15 07:14 | 0.59 | 0.57 | 0.48 | 12
Testing 516 |  | sen id rms23 | DE | No data | No data | No data | No data | 0
Testing 516 |  | SEN3 | DE | 2024-09-04 10:37 | 0.75 | 0.52 | 0.38 | 22
Testing 516 |  | IPSEN 2 | DE | 2024-08-26 11:20 |  |  |  | 21716
Testing 516 |  | IP SEN 3 | DE | 2024-08-26 11:17 | 0.79 | 0.51 | 0.49 | 1318
Testing 516 |  | IP SEN 4 | DE | 2024-08-26 11:19 |  |  | 0.77 | 1509
Testing 516 |  | Test 2.3 | DE | 2024-07-31 09:45 | 0.78 | 2.24 | 1.11 | 23
Testing 516 |  | IP SEN | DE | 2024-08-26 11:18 |  |  | 5.25 | 21592
WBAT |  | BAT | DE | 2024-09-06 08:02 | 3.09 | 6.36 | 4.58 | 32
FBP Exhaust Fan |  | Motor | DE | 2024-07-04 05:34 | 3.24 | 2.44 | 1.81 | 159
Secondary Pump No.7 |  | Motor | de | 2024-07-12 08:41 |  |  |  | 25
MACO |  | ENGINE | DE | 2024-07-20 06:29 | 5.67 | 6.79 | 5.05 | 36
Motor |  | Motor | DE | 2024-07-26 13:28 |  |  | 2.93 | 32
Conveyor |  | Motor | DE | 2024-07-24 10:25 |  |  | 0.84 | 19
Conveyor |  | Gearbox | DE | 2024-07-24 10:25 | 1.2 | 1.53 | 1.36 | 23
Conveyor |  | Gearbox | NDE | 2024-07-24 10:25 | 0.72 | 1.14 | 0.46 | 22
Conveyor |  | Plummer Block | DE | 2024-07-29 06:23 | 0.92 | 0.68 |  | 7
Cooling Water Pump-3 |  | Motor | DE | 2024-08-27 09:50 | 0.99 | 0.77 | 0.82 | 107
P2P Test |  | testt | DE | 2024-08-07 14:45 |  |  | 0.51 | 915
concurrency |  | 8 | DE | 2024-08-29 11:12 | 0.49 | 0.79 | 0.55 | 2
concurrency |  | 1 | DE | 2024-08-28 07:30 |  |  |  | 2630
concurrency |  | 2 | DE | 2024-08-27 06:31 |  |  |  | 1326
concurrency |  | 4 | DE | 2024-08-29 11:46 |  |  |  | 1513
concurrency |  | 5 | DE | 2024-08-14 11:33 | 0.96 | 0.89 | 0.85 | 5
concurrency |  | 6 | DE | 2025-01-31 18:48 |  |  |  | 9532
concurrency |  | 7 | DE | 2024-12-02 14:02 | 0.52 | 1.03 | 0.43 | 40
concurrency |  | 3 | DE | 2024-12-02 14:37 |  |  | 0.32 | 653
comp |  | test_point | DE | No data | No data | No data | No data | 0
comp |  | wifi | DE | 2024-09-06 06:42 | 3.81 | 5.09 | 2.13 | 13
comp |  | ble | DE | 2024-08-22 09:01 |  |  | 0.25 | 2278
Demo Test Ko |  | 7 | DE | 2024-09-02 16:33 |  |  | 0.79 | 431
Demo Test Ko |  | 202408031001 | DE | 2024-10-21 15:44 |  |  |  | 686
Demo Test Ko |  | E8:31:CD:38:7A:60 | DE | 2024-09-11 09:38 | 0.56 | 0.89 | 0.71 | 6
Demo Test Ko |  | 3 | DE | 2024-09-02 07:17 |  | 1.36 | 0.49 | 292
Demo Test Ko |  | 9 | DE | 2024-09-13 19:23 |  |  | 0.68 | 204
Demo Test Ko |  | 4 | DE | 2024-08-31 14:44 | 0.42 | 0.84 |  | 128
Demo Test Ko |  | 5 | DE | 2024-08-31 14:50 | 0.4 | 0.93 | 0.45 | 158
Demo Test Ko |  | 6 | DE | 2024-09-03 12:53 |  |  | 0.29 | 111
Demo Test Ko |  | 8 | DE | 2024-08-31 14:51 | 0.47 | 1.08 |  | 130
Demo Test Ko |  | 2 | DE | 2024-08-31 14:40 |  |  | 0.41 | 154
pump testing |  | pump16 | DE | 2024-10-02 06:51 |  |  | 0.59 | 16
pump testing |  | pump | DE | 2024-09-09 12:05 | 0.57 | 1.51 | 0.48 | 1
pump testing |  | pump1 | DE | 2024-09-09 12:00 | 0.33 | 1.46 | 0.27 | 6
pump testing |  | pump11 | DE | 2024-09-09 12:00 | 0.36 | 1.36 | 0.2 | 2
pump testing |  | pump2 | DE | 2024-09-09 12:00 | 0.4 | 1.33 | 0.27 | 6
pump testing |  | pump3 | DE | 2024-09-09 12:00 | 0.4 | 1.15 | 0.32 | 5
pump testing |  | pump4 | DE | 2024-09-09 12:00 | 0.42 | 1.54 | 0.27 | 6
pump testing |  | pump5 | DE | 2024-09-09 12:00 | 0.39 | 0.68 | 0.22 | 6
pump testing |  | pump6 | DE | 2024-09-09 12:00 | 0.37 | 0.84 | 0.38 | 6
pump testing |  | pump7 | DE | 2024-09-09 12:00 | 0.4 | 1.21 | 0.38 | 6
pump testing |  | pump12 | DE | 2024-09-09 12:00 | 0.4 | 1.39 | 0.32 | 2
pump testing |  | pump8 | DE | 2024-09-09 12:00 | 0.45 | 1.92 | 0.32 | 8
pump testing |  | pump9 | DE | 2024-09-09 12:00 | 0.38 | 0.89 | 0.22 | 6
pump testing |  | pump15 | DE | 2024-09-24 09:40 | 0.51 | 0.88 | 0.44 | 5
pump testing |  | pump10 | DE | 2024-09-09 12:00 | 0.39 | 0.69 | 0.21 | 2
pump testing |  | pump13 | DE | 2024-09-09 12:00 | 0.4 | 1.07 | 0.25 | 12
pump testing |  | pump14 | DE | 2024-09-09 12:35 | 0.4 | 1.75 | 0.29 | 11
pump testing |  | punp17 | DE | 2024-09-19 07:35 | 0.38 | 0.83 | 0.23 | 5
pump testing |  | pump18 | DE | 2024-10-01 12:18 | 0.42 | 1.05 | 0.26 | 6
pump testing |  | punp 20 | DE | No data | No data | No data | No data | 0
pump testing |  | punp19 | DE | 2024-09-19 08:25 | 0.39 | 0.93 | 0.23 | 4
Ace Ultra |  | 2 | DE | 2024-09-26 13:05 | 0.41 |  | 0.6 | 11
Ace Ultra |  | 4 | DE | 2024-09-15 10:21 | 0.41 | 0.81 | 0.46 | 58
Ace Ultra |  | 8 | DE | 2024-09-15 10:20 | 0.39 | 0.89 | 0.67 | 49
Ace Ultra |  | 11 | DE | 2024-09-26 12:33 |  |  | 0.7 | 11
Ace Ultra |  | 12 | DE | 2024-09-15 11:34 | 0.39 | 0.8 | 0.38 | 68
Ace Ultra |  | 3 | DE | 2024-09-16 10:26 | 0.43 | 0.63 | 0.64 | 1
Ace Ultra |  | 13 | DE | 2024-09-16 12:22 |  |  | 0.33 | 1
Ace Ultra |  | 14 | DE | 2024-09-15 10:18 | 0.38 | 0.81 | 0.51 | 64
Ace Ultra |  | 15 | DE | 2024-09-15 10:22 | 0.32 | 0.66 | 0.19 | 66
Ace Ultra |  | 16 | DE | 2024-09-16 11:05 | 0.37 | 0.83 | 0.53 | 67
Ace Ultra |  | 17 | DE | 2024-09-15 10:10 | 0.39 | 0.85 | 0.54 | 66
Ace Ultra |  | 18 | DE | 2024-09-26 12:29 | 0.33 | 1.12 | 0.62 | 1
Ace Ultra |  | 19 | DE | 2024-09-15 10:14 | 0.39 | 0.93 | 0.72 | 55
Ace Ultra |  | 5 | DE | 2024-09-15 10:19 | 0.37 | 0.99 | 0.28 | 55
Ace Ultra |  | 6 | DE | 2024-09-26 12:41 | 0.33 | 0.78 | 0.46 | 2
Ace Ultra |  | 9 | DE | 2024-09-15 10:21 | 0.42 | 0.71 | 0.29 | 66
Ace Ultra |  | 1 | DE | 2024-09-15 10:00 | 0.36 | 1.1 | 0.38 | 48
Ace Ultra |  | 10 | DE | 2024-09-15 10:20 | 0.48 | 1.03 | 0.28 | 52
Ace Ultra |  | 7 | DE | 2024-09-15 10:14 | 0.36 | 0.71 | 0.52 | 63
FI KOR 1 |  | 1 | DE | 2024-09-16 07:10 | 0.36 |  | 0.5 | 68
FI KOR 1 |  | 2 | DE | 2024-09-16 07:04 | 0.36 | 0.82 | 0.63 | 68
FI KOR 1 |  | 10 | DE | 2024-09-18 09:57 |  |  | 0.32 | 5408
FI KOR 1 |  | 11 | DE | 2024-09-16 07:11 | 0.37 |  | 0.62 | 51
FI KOR 1 |  | 12 | DE | 2024-09-16 06:30 | 0.44 | 0.75 | 0.6 | 61
FI KOR 1 |  | 14 | DE | 2024-09-16 07:11 | 0.35 | 0.96 | 0.87 | 58
FI KOR 1 |  | 15 | DE | 2024-09-16 07:11 | 0.35 | 0.93 | 0.64 | 44
FI KOR 1 |  | 5 | DE | 2024-09-16 07:03 | 0.37 | 0.78 | 0.49 | 68
FI KOR 1 |  | 6 | DE | 2024-09-16 07:00 | 0.36 | 0.76 | 0.37 | 50
FI KOR 1 |  | 7 | DE | 2024-09-19 10:45 | 0.35 | 0.73 | 0.54 | 1
FI KOR 1 |  | 8 | DE | 2024-09-16 06:47 | 0.36 | 0.65 | 0.64 | 52
FI KOR 1 |  | 13 | DE | 2024-09-16 07:01 | 0.37 | 0.83 | 0.55 | 43
FI KOR 1 |  | 4 | DE | 2024-09-26 12:50 | 0.38 | 0.93 | 0.24 | 2
FI KOR 1 |  | 3 | DE | 2024-09-16 07:06 | 0.37 | 0.66 | 0.62 | 60
FI KOR 1 |  | 9 | DE | 2024-09-26 12:40 | 0.47 | 1.25 | 0.21 | 2
fi kor 3 |  | 1 | DE | No data | No data | No data | No data | 0
fi kor 3 |  | 2 | DE | 2024-09-15 16:18 |  |  | 0.49 | 2
fi kor 3 |  | 7 | DE | 2024-09-16 07:28 | 0.29 | 0.71 | 0.71 | 1
fi kor 3 |  | 9 | DE | 2024-09-16 12:41 | 0.41 | 0.81 | 0.21 | 2
fi kor 3 |  | 8 | DE | 2024-09-16 10:28 | 0.51 | 0.69 | 0.89 | 1
fi kor 3 |  | 6 | DE | 2024-09-16 07:05 | 0.37 | 0.65 | 0.63 | 56
fi kor 3 |  | TEST222 | DE | No data | No data | No data | No data | 0
fi kor 3 |  | 3 | DE | 2024-09-16 06:45 |  |  | 0.32 | 61
fi kor 3 |  | 5 | DE | 2024-09-16 07:01 | 0.37 | 0.84 | 0.49 | 35
fi kor 3 |  | 4 | DE | 2024-09-26 12:39 | 0.39 | 0.97 | 0.21 | 2
Nerolac |  | Motor | DE | 2024-09-19 11:56 | 0.59 |  |  | 7
Nerolac |  | Motor | NDE | 2024-09-20 09:35 | 1.52 | 1.45 |  | 17
SM TEST |  | SM 2 | DE | 2024-10-23 09:53 | 1.12 | 0.86 | 0.61 | 1315
SM TEST |  | sm 5 | DE | 2024-10-30 09:02 |  |  |  | 8706
SM TEST |  | SM 1 | DE | 2024-11-08 06:19 |  |  |  | 118101
SM TEST |  | SM 3 | DE | 2024-10-16 09:10 | 1.06 | 0.68 | 0.6 | 1247
SM TEST |  | SM 4 | DE | 2024-10-16 09:10 | 0.9 | 0.6 | 0.51 | 1242
SM TEST |  | sm 7 | DE | 2024-11-04 13:37 | 0.92 | 0.61 |  | 229
SM TEST |  | sm 8 | DE | 2024-11-04 12:35 | 1.21 | 1.02 | 0.66 | 129
SM TEST |  | sm 9 | DE | 2024-11-04 13:10 | 1.21 | 1.02 | 0.59 | 116
SM TEST |  | sm 10 | DE | 2024-11-11 08:28 | 1.44 | 1.28 | 0.86 | 600
SM TEST |  | sm11 | DE | 2024-11-11 08:30 | 0.9 | 0.89 | 0.53 | 875
SM TEST |  | sm 12 | DE | No data | No data | No data | No data | 0
SM TEST |  | sm 13 | DE | No data | No data | No data | No data | 0
SM TEST |  | sm 6 | DE | 2024-11-07 13:19 | 1.07 | 0.71 | 0.55 | 219
Trial |  | stmespwired | DE | 2024-12-05 11:25 | 0.5 | 0.78 | 0.51 | 23582
Trial |  | bletst4 | DE | 2024-12-08 15:22 | 0.39 | 0.84 | 0.76 | 206
Trial |  | bletest2 | DE | 2024-12-08 15:19 | 0.38 | 0.77 | 0.47 | 225
Trial |  | testble | DE | 2024-12-08 15:09 | 0.43 | 0.84 | 0.39 | 218
Trial |  | bletes4 | DE | 2024-12-08 15:21 | 0.41 | 0.71 | 0.44 | 223
Trial |  | blestes3 | DE | 2024-12-07 14:55 | 0.41 | 1 | 0.72 | 211
Trial |  | da | DE | 2024-12-02 14:03 |  |  | 0.61 | 18
Trial |  | RR | DE | 2024-12-08 15:18 |  |  |  | 944
Trial |  | BB | DE | 2024-10-23 09:30 |  |  | 0.26 | 24
Trial |  | TEST | DE | 2024-11-03 12:47 |  |  | 0.2 | 33
Trial |  | V | DE | 2024-12-03 11:35 |  |  |  | 9883
Trial |  | ac | DE | 2024-10-22 19:13 | 0.55 | 1.27 | 0.84 | 539
Trial |  | test | DE | 2024-10-21 02:50 | 0.39 | 0.95 | 0.22 | 1168
W DEMO |  | O | DE | 2024-11-03 14:02 | 1.13 |  | 0.56 | 14923
W DEMO |  | mm | DE | 2024-11-05 12:33 | 0.92 | 0.54 | 0.48 | 1
W DEMO |  | N | DE | 2024-11-03 14:07 | 1.34 |  |  | 17276
W DEMO |  | ii | DE | 2025-01-04 11:12 | 1.2 | 0.92 | 0.75 | 2510
W DEMO |  | M | DE | 2024-11-08 05:26 |  | 0.5 |  | 63917
CNC Demo |  | motor | DE | 2024-11-29 09:50 | 0.37 | 1.18 | 0.32 | 5
AP TRIAL |  | TRIAL | DE | 2025-03-01 17:53 |  |  |  | 628
AP TRIAL |  | acoustic | DE | 2024-12-27 11:33 |  |  | 0.63 | 14017
AP TRIAL |  | ac test | DE | 2025-01-07 11:05 | 0.51 | 0.67 | 0.38 | 14243
test live123 |  | PL3 | DE | 2024-12-31 14:06 | 0.53 | 0.88 | 0.62 | 275
test live123 |  | PL2 | DE | 2024-12-31 09:22 | 0.56 | 0.63 | 0.41 | 262
test live123 |  | PL6 | DE | 2024-12-31 09:16 | 0.71 | 0.82 | 0.57 | 83
test live123 |  | PL13 | DE | 2024-12-31 10:11 | 0.51 | 0.48 | 0.45 | 53
test live123 |  | PL14 | DE | 2024-12-31 10:11 | 0.47 | 0.53 | 0.5 | 45
test live123 |  | PL8 | DE | 2024-12-31 09:46 | 0.64 | 0.68 | 0.46 | 86
test live123 |  | PL1 | DE | 2024-12-31 09:21 | 0.53 | 0.67 | 0.39 | 267
test live123 |  | PL15 | DE | 2024-12-31 10:12 | 0.58 | 0.61 | 0.51 | 41
test live123 |  | PL9 | DE | 2024-12-31 09:39 | 0.66 | 0.7 | 0.57 | 44
test live123 |  | PL7 | DE | 2025-01-05 07:37 | 0.71 |  | 0.53 | 27
test live123 |  | PL17 | DE | 2024-12-31 10:12 | 1.04 | 1.21 | 0.98 | 37
test live123 |  | PL10 | DE | 2025-01-01 07:49 |  |  | 0.3 | 1
test live123 |  | PL16 | DE | 2025-01-01 10:08 | 0.57 | 0.49 | 0.38 | 2
test live123 |  | PL11 | DE | 2025-01-01 08:30 | 0.39 |  | 0.28 | 1
test live123 |  | PL18 | DE | 2024-12-31 10:12 | 0.81 | 0.81 | 0.61 | 31
test live123 |  | PL12 | DE | No data | No data | No data | No data | 0
test live123 |  | PL5 | DE | 2025-01-05 10:59 | 0.61 | 0.73 | 0.53 | 248
test live123 |  | PL4 | DE | 2024-12-31 09:21 | 0.51 | 0.62 | 0.41 | 216
test live @ |  | PLC4 | DE | 2025-01-01 08:08 | 3.65 | 4.37 | 4.43 | 3
test live @ |  | PLC1 | DE | 2025-01-07 13:03 |  |  | 2.43 | 516
test live @ |  | PLC7 | DE | 2025-01-01 08:55 | 0.52 |  | 0.17 | 1
test live @ |  | PLC26 | DE | 2024-12-31 12:48 | 0.75 | 1.02 | 0.56 | 160
test live @ |  | PLC13 | DE | 2024-12-31 11:29 | 0.5 | 0.72 | 0.45 | 40
test live @ |  | PLC2 | DE | 2024-12-31 10:42 |  | 0.84 |  | 63
test live @ |  | PLC27 | DE | 2024-12-31 12:48 | 0.63 | 0.64 | 0.53 | 159
test live @ |  | PLC8 | DE | 2024-12-31 11:09 | 0.59 | 0.75 | 0.39 | 89
test live @ |  | PLC20 | DE | 2024-12-31 13:54 | 0.48 | 0.68 | 0.32 | 45
test live @ |  | PLC14 | DE | 2025-03-04 09:42 | 0.61 | 0.71 | 0.6 | 78
test live @ |  | PLC3 | DE | 2024-12-31 10:39 | 0.58 | 0.86 |  | 47
test live @ |  | PLC9 | DE | 2024-12-31 11:06 | 0.55 | 0.81 | 0.5 | 69
test live @ |  | PLC15 | DE | 2024-12-31 11:30 | 0.75 | 0.67 | 0.53 | 37
test live @ |  | PLC19 | DE | 2024-12-31 11:49 |  | 0.56 |  | 48
test live @ |  | PLC28 | DE | 2024-12-31 12:47 | 0.61 | 0.67 | 0.53 | 145
test live @ |  | PLC21 | DE | 2024-12-31 11:49 | 0.5 | 0.57 | 0.39 | 38
test live @ |  | PLC29 | DE | 2024-12-31 12:47 | 0.47 | 0.51 | 0.34 | 144
test live @ |  | PLC10 | DE | 2025-01-01 11:38 | 0.39 |  | 0.31 | 3
test live @ |  | PLC16 | DE | 2025-01-05 06:04 |  |  | 0.45 | 47
test live @ |  | PLC5 | DE | 2024-12-31 10:41 | 0.85 | 0.89 | 0.65 | 51
test live @ |  | PLC23 | DE | 2024-12-31 11:49 | 0.46 | 0.52 | 0.31 | 34
test live @ |  | PLC11 | DE | 2024-12-31 11:11 | 0.46 | 0.47 | 0.41 | 87
test live @ |  | PLC30 | DE | No data | No data | No data | No data | 0
test live @ |  | PLC18 | DE | 2024-12-31 11:49 | 0.54 | 0.49 | 0.49 | 47
test live @ |  | PLC17 | DE | 2024-12-31 11:29 | 0.57 | 0.64 | 0.42 | 26
test live @ |  | PLC24 | DE | 2024-12-31 12:48 | 0.58 | 0.68 | 0.6 | 170
test live @ |  | PLC12 | DE | 2024-12-31 11:29 | 0.7 | 1.27 | 0.86 | 44
test live @ |  | PLC6 | DE | 2024-12-31 10:36 | 0.63 | 0.72 | 0.41 | 20
test live @ |  | PLC25 | DE | 2024-12-31 12:47 | 0.45 | 0.57 | 0.32 | 164
test live @ |  | PLC22 | DE | 2025-01-01 08:59 | 0.46 | 0.51 | 0.49 | 10
VIB TEST |  | RIG | DE | 2025-01-22 11:35 | 1.66 | 7.46 | 1.5 | 2748
ac |  | F6:15:84:91:C4:47 | DE | 2025-02-19 17:31 | 0.39 | 1.09 | 0.62 | 798
ac |  | T | DE | 2025-02-06 12:22 |  |  | 0.37 | 7994
ac |  | ble | DE | 2025-01-31 14:45 | 0.35 | 1.05 | 0.7 | 30
ac |  | r | DE | 2025-03-09 10:55 |  |  |  | 1509
ac |  | ac-3 | DE | 2025-02-03 10:40 | 1.66 | 2.03 | 1.42 | 8
ac |  | ac-2 | DE | 2025-02-03 10:27 | 0.71 | 1.06 | 1.05 | 13
ac |  | ac-4 | DE | 2025-02-03 10:21 | 0.81 | 1.28 | 0.82 | 9
ac |  | ac-1 | DE | 2025-02-05 06:09 | 1.12 | 1.11 |  | 6
ac |  | blee | DE | 2025-03-21 12:18 |  |  |  | 66001
ac |  | test | DE | 2025-01-08 14:09 | 0.64 | 0.73 | 0.54 | 833
ac |  | DD:C3:D7:E5:63:32 | DE | 2025-01-13 09:39 |  |  |  | 143
defect |  | 2C:BC:BB:62:0A:54 | DE | 2025-02-12 08:15 |  |  |  | 37
time |  | time 2 | DE | 2025-02-26 17:11 | 0.38 | 0.69 | 0.58 | 53
time |  | time | DE | 2025-03-04 13:40 |  |  | 0.37 | 331
pump acad test |  | test | DE | 2025-03-04 08:22 |  |  |  | 49448
pump acad test |  | 2C:BC:BB:62:0A:50 | DE | 2025-03-11 18:47 | 1.05 |  | 1.17 | 52147
mag |  | mag | DE | 2025-03-07 11:19 | 0.32 | 0.77 | 0.52 | 6
mag |  | CA:FC:A2:3B:03:39 | DE | 2025-04-05 13:52 | 0.45 | 0.65 | 0.5 | 416
BLE TIME |  | BLE TIME 1 | DE | 2025-03-10 09:44 | 3.14 | 0.58 | 0.26 | 5
BLE TIME |  | BLE TIME 2 | DE | 2025-03-10 18:14 |  |  | 1.61 | 25
BLE TIME |  | D1:0C:8A:94:22:5D | DE | 2025-03-20 13:35 |  |  | 0.6 | 218
ac test |  | CC:7B:5C:37:0B:A0 | DE | 2025-03-13 02:27 | 0.74 | 0.73 | 0.62 | 22
ac test |  | CC:7B:5C:37:0C:B4 | DE | 2025-03-17 09:58 | 1.39 | 1.94 | 1.15 | 5838
ac test |  | CC:7B:5C:37:0D:10 | DE | 2025-03-12 21:10 | 0.62 |  | 0.76 | 31
ac test |  | CC:7B:5C:37:0B:FC | DE | No data | No data | No data | No data | 0
ac test |  | CC:7B:5C:37:0D:58 | DE | 2025-03-17 06:15 | 0.64 | 0.75 | 0.6 | 40
ac test |  | CC:7B:5C:37:0C:48 | DE | 2025-03-12 09:53 | 0.53 | 0.67 | 0.36 | 221
ac test |  | CC:7B:5C:37:0D:60 | DE | 2025-03-13 02:02 | 0.86 | 0.89 | 0.9 | 73
ac test |  | CC:7B:5C:37:0C:74 | DE | 2025-03-15 11:33 | 0.58 |  | 0.46 | 750
2ND LOT |  | T | DE | 2025-03-17 11:25 | 0.57 |  | 0.47 | 154
2ND LOT |  | R | DE | 2025-03-17 10:12 | 0.48 | 0.51 | 0.43 | 288
2ND LOT |  | CC:7B:5C:37:0C:0C | DE | 2025-03-17 06:53 | 0.44 |  | 0.45 | 216
2ND LOT |  | CC:7B:5C:37:0D:74 | DE | 2025-03-15 16:03 | 0.52 | 0.47 | 0.45 | 363
2ND LOT |  | CC:7B:5C:37:0D:08 | DE | 2025-03-17 09:21 | 0.47 | 0.51 | 0.52 | 14286
PIE |  | PIEZ | DE | 2025-03-20 15:20 | 0.53 | 0.63 | 0.51 | 323
PIE |  | PP | DE | 2025-03-24 10:13 | 0.61 | 3.93 | 0.49 | 7129
PIE |  | ble piez | DE | 2025-03-23 11:49 | 0.68 | 788.05 | 0.69 | 244
PIE |  | pp | DE | 2025-03-23 16:27 | 1.05 | 0.73 | 0.69 | 658
PIE |  | WIRED ANOTHER TRY | DE | 2025-03-26 19:40 | 18.22 | 5.7 | 3.19 | 1741
PIE |  | bl | DE | 2025-03-26 09:43 | 2.39 | 3.16 | 4.73 | 23
PIE |  | ac | DE | 2025-06-18 11:24 | 0.45 | 159.74 | 0.43 | 14
piez rms |  | pp | DE | 2025-03-24 05:22 | 7.69 | 4.88 | 6.76 | 2
BLE TIME TEST |  | D4:48:25:AD:81:54 | DE | 2025-04-01 06:44 | 0.31 | 0.43 | 0.37 | 1
BLE TIME TEST |  | CD:57:EE:81:F9:63 | DE | 2025-04-01 06:37 | 0.33 | 0.39 | 0.33 | 1
BLE TIME TEST |  | DA:32:8A:DD:17:3E | DE | 2025-04-01 06:35 | 0.51 | 0.52 | 0.31 | 1
BLE TIME TEST |  | DB:3C:7F:80:C6:D3 | DE | 2025-04-01 06:33 | 0.24 | 0.38 | 0.3 | 1
BLE TIME TEST |  | FA:F5:20:49:E5:D3 | DE | 2025-04-01 06:36 | 0.49 | 0.38 | 0.58 | 1
BLE TIME TEST |  | E8:64:27:16:E3:2B | DE | 2025-04-01 06:42 | 0.44 | 0.54 | 0.4 | 1
BLE TEST 2 |  | 10 | DE | 2025-04-01 07:10 | 0.44 | 0.42 | 0.43 | 1
BLE TEST 2 |  | 11 | DE | 2025-04-01 07:15 | 0.3 | 0.53 | 0.34 | 1
BLE TEST 2 |  | 5 | DE | 2025-04-01 07:11 | 0.36 | 0.35 | 0.42 | 1
BLE TEST 2 |  | 7 | DE | 2025-04-01 07:08 | 0.33 | 0.76 | 0.5 | 1
BLE TEST 2 |  | 12 | DE | 2025-04-01 07:52 | 0.34 | 0.42 | 0.38 | 2
BLE TEST 2 |  | 8 | DE | 2025-04-01 07:04 | 0.46 | 0.41 | 0.32 | 1
BLE TEST 2 |  | 13 | DE | 2025-04-01 07:19 | 0.31 | 0.39 | 0.37 | 1
BLE TEST 2 |  | 2 | DE | 2025-04-01 07:02 | 0.35 | 0.35 | 0.44 | 1
BLE TEST 2 |  | 3 | DE | 2025-04-01 07:06 | 0.3 | 0.51 | 0.29 | 1
BLE TEST 2 |  | 4 | DE | 2025-04-01 07:03 | 0.5 | 0.36 | 0.41 | 1
BLE TEST 2 |  | 1 | DE | 2025-04-01 07:01 | 0.43 | 0.58 | 0.61 | 1
BLE TEST 2 |  | 15 | DE | 2025-04-01 07:17 | 0.36 | 0.39 | 0.52 | 1
BLE TEST 2 |  | 14 | DE | 2025-04-01 07:16 | 0.43 | 0.38 | 0.37 | 1
BLE TEST 2 |  | 6 | DE | 2025-04-01 07:05 | 0.3 | 0.39 | 0.39 | 1
BLE TEST 2 |  | 9 | DE | 2025-04-01 07:13 | 0.32 | 0.5 | 0.38 | 1
BLE TEST 3 |  | 6 | DE | 2025-04-01 10:27 | 0.34 | 0.32 | 0.44 | 1
BLE TEST 3 |  | 3 | DE | 2025-04-01 10:19 | 0.32 | 0.38 | 0.49 | 1
BLE TEST 3 |  | 19 | DE | 2025-04-01 10:34 | 0.37 | 0.52 | 0.42 | 1
BLE TEST 3 |  | 18 | DE | 2025-04-01 10:35 | 0.48 | 0.33 | 0.34 | 1
BLE TEST 3 |  | 4 | DE | 2025-04-01 10:28 | 0.41 | 0.43 | 0.29 | 1
BLE TEST 3 |  | 7 | DE | 2025-04-01 10:22 | 0.36 | 0.46 | 0.36 | 1
BLE TEST 3 |  | 8 | DE | 2025-04-01 10:24 | 0.49 | 0.56 | 0.36 | 1
BLE TEST 3 |  | 9 | DE | 2025-04-01 10:20 | 0.33 | 0.33 | 0.34 | 1
BLE TEST 3 |  | 10 | DE | 2025-04-01 10:41 | 0.45 | 0.56 | 0.49 | 2
BLE TEST 3 |  | 11 | DE | 2025-04-01 10:30 | 0.53 | 0.6 | 0.33 | 1
BLE TEST 3 |  | UU | DE | 2025-04-01 14:30 | 0.37 | 0.47 | 0.38 | 1
BLE TEST 3 |  | 12 | DE | 2025-04-01 10:37 | 0.58 | 0.3 | 0.42 | 1
BLE TEST 3 |  | 13 | DE | 2025-04-01 10:26 | 0.4 | 0.55 | 0.33 | 1
BLE TEST 3 |  | 14 | DE | 2025-04-01 10:29 | 0.33 | 0.51 | 0.33 | 1
BLE TEST 3 |  | 15 | DE | 2025-04-01 10:39 | 0.32 | 0.39 | 0.48 | 1
BLE TEST 3 |  | 16 | DE | 2025-04-01 10:23 | 0.46 | 0.33 | 0.36 | 1
BLE TEST 3 |  | 5 | DE | 2025-04-01 10:21 | 0.43 | 0.71 | 0.49 | 1
BLE TEST 3 |  | 2 | DE | 2025-04-01 10:17 | 0.41 | 0.45 | 0.44 | 1
BLE TEST 3 |  | 17 | DE | 2025-04-01 10:32 | 0.47 | 0.42 | 0.5 | 1
BLE TEST 3 |  | 20 | DE | 2025-04-01 10:38 | 0.51 | 0.55 | 0.32 | 1
BLE TEST 3 |  | 1 | DE | 2025-04-01 10:16 | 0.32 | 0.47 | 0.33 | 1
testing 2.0 |  | 2.0 | DE | No data | No data | No data | No data | 0
matsui blower |  | motor | DE | 2025-05-30 06:27 | 1.18 | 1.07 | 0.85 | 78
bat test again |  | test | DE | 2025-05-17 11:55 | 0.77 | 0.93 | 0.61 | 5464
sager |  | sa5 | DE | 2018-04-18 02:09 | 0.39 | 0.75 | 0.19 | 1
sager |  | sa1 | DE | 2018-04-18 02:07 | 0.34 | 0.83 | 0.31 | 1
sager |  | sa3 | DE | 2025-05-07 11:25 | 0.43 | 0.65 | 0.24 | 2
sager |  | sa4 | DE | 2025-05-07 10:45 | 0.4 | 1.06 | 0.31 | 7
sager |  | sa6 | DE | 2025-05-07 10:45 | 0.82 | 0.35 | 0.25 | 8
sager |  | sa7 | DE | 2018-04-18 02:09 | 0.35 | 0.55 | 0.21 | 1
sager |  | sa8 | DE | 2025-05-07 10:45 | 0.44 | 1.03 | 0.37 | 9
sager |  | sa9 | DE | 2018-04-18 02:09 | 0.42 | 1.06 | 0.74 | 1
sager |  | sa10 | DE | 2025-05-07 11:15 | 0.34 | 0.6 | 0.22 | 2
sager |  | sa12 | DE | 2018-04-18 02:09 | 0.36 | 0.8 | 0.34 | 1
sager |  | sa13 | DE | 2018-04-18 02:09 | 0.42 | 1.19 | 0.27 | 1
sager |  | sa14 | DE | 2018-04-18 02:09 | 0.42 | 0.94 | 0.51 | 1
sager |  | sa15 | DE | 2018-04-18 02:09 | 0.34 | 0.8 | 0.21 | 1
sager |  | sa11 | DE | 2025-05-07 11:05 | 0.4 | 1.1 | 0.32 | 2
sager |  | sa2 | DE | 2025-05-07 11:01 | 0.42 | 1.01 | 0.21 | 1
BEFO LE |  | 5 | DE | 2025-05-08 12:51 | 0.41 | 0.42 | 0.28 | 6
BEFO LE |  | 3 | DE | 2025-05-08 12:45 | 0.46 | 0.6 | 0.45 | 7
BEFO LE |  | 2 | DE | 2025-05-08 13:48 | 0.48 | 0.52 | 0.4 | 13
BEFO LE |  | 1 | DE | 2025-05-08 13:14 | 0.48 | 0.48 | 0.4 | 8
BEFO LE |  | 4 | DE | 2025-05-08 13:07 | 0.48 | 0.53 | 0.37 | 7
BEFO LE |  | 6 | DE | 2025-05-08 13:51 | 0.36 | 0.73 | 0.4 | 12
BEFO LE |  | 7 | DE | 2025-05-08 13:44 | 0.48 | 0.54 | 0.31 | 10
test |  | No endpoints found | [5 empty] | 0
Test Asset Shift 2 |  | E4 | DE | No data | No data | No data | No data | 0
Test Asset Shift 2 |  | E2 | DE | No data | No data | No data | No data | 0
Test Asset Shift 2 |  | E3 | DE | No data | No data | No data | No data | 0
Test Asset Shift 2 |  | E1 | DE | No data | No data | No data | No data | 0
Primary Booth ASU V-11 - Copy |  | Motor | DE | No data | No data | No data | No data | 0
Primary Booth ASU V-11 - Copy |  | shiva25 | DE | No data | No data | No data | No data | 0
Primary Booth ASU V-11 - Copy |  | Motor | NDE | No data | No data | No data | No data | 0
mag flux |  | C5:1A:A6:6B:E0:D3 | DE | 2025-05-27 15:22 | 3.95 | 4.53 | 6.38 | 14
mag flux |  | motor | DE | 2025-06-10 08:45 | 5.75 | 2.96 | 5.24 | 5
Test Asset |  | sunil-test | DE | 2025-05-27 13:39 | 0.48 | 0.46 | 0.55 | 125
Test Asset |  | noida-sunil-test | DE | 2025-05-30 13:49 | 0.56 | 0.53 | 0.46 | 10
vibo |  | 2C:BC:BB:60:EB:70 | DE | No data | No data | No data | No data | 0
vibo |  | get2 | DE | 2025-05-30 05:53 | 0.44 | 0.77 | 0.51 | 53
vibo |  | get5 | DE | 2025-05-30 05:32 | 0.41 | 0.91 | 0.78 | 55
vibo |  | get6 | DE | 2025-05-30 05:48 | 0.4 | 0.84 | 0.68 | 52
vibo |  | get7 | DE | 2025-06-04 06:29 | 0.41 | 0.89 | 0.44 | 58
vibo |  | get8 | DE | 2025-05-30 05:04 | 0.39 | 0.8 | 0.51 | 52
vibo |  | get3 | DE | 2025-05-30 05:54 | 0.4 | 0.76 | 0.56 | 57
vibo |  | get1 | DE | 2025-05-30 06:01 | 0.38 | 0.88 | 0.48 | 48
vibo |  | get4 | DE | 2025-05-30 05:46 | 0.36 | 0.87 | 0.59 | 58
Honeywell Demo |  | Test | DE | 2025-06-04 11:10 | 1.8 | 0.7 | 1.57 | 7
Asset |  | No endpoints found | [5 empty] | 0
Old Asset |  | No endpoints found | [5 empty] | 0
New Asset Test |  | No endpoints found | [5 empty] | 0
BLE TEST 2.0 |  | BLE 3 | DE | 2025-06-09 12:09 | 0.36 | 0.42 | 0.34 | 2
BLE TEST 2.0 |  | BLE 4 | DE | 2025-06-09 12:17 | 0.42 | 0.52 | 0.39 | 2
BLE TEST 2.0 |  | BLE6 | DE | 2025-06-09 10:27 | 0.38 | 0.32 | 0.37 | 1
BLE TEST 2.0 |  | BLE9 | DE | 2025-06-09 10:34 | 0.36 | 0.31 | 0.31 | 1
BLE TEST 2.0 |  | BLE10 | DE | 2025-06-09 10:59 | 0.59 | 0.33 | 0.39 | 1
BLE TEST 2.0 |  | BLE 1 | DE | 2025-06-09 11:03 | 0.37 | 0.34 | 0.29 | 1
BLE TEST 2.0 |  | BLE 2 | DE | 2025-06-09 10:54 | 0.47 | 0.82 | 0.41 | 1
BLE TEST 2.0 |  | BLE5 | DE | 2025-06-09 12:10 | 0.3 | 0.36 | 0.43 | 2
BLE TEST 2.0 |  | BLE7 | DE | 2025-06-09 10:57 | 0.42 | 0.3 | 1.28 | 1
BLE TEST 2.0 |  | BLE8 | DE | 2025-06-09 10:56 | 0.37 | 0.52 | 0.29 | 1
BLE TEST 3.0 |  | TEST2 | DE | 2025-06-12 11:43 | 0.37 | 0.46 | 0.39 | 19
BLE TEST 3.0 |  | TEST5 | DE | 2025-06-09 11:51 | 0.53 | 0.54 | 0.37 | 1
BLE TEST 3.0 |  | TEST 7 | DE | 2025-06-10 08:32 | 0.41 | 0.44 | 0.51 | 5
BLE TEST 3.0 |  | TEST8 | DE | 2025-06-09 12:03 | 0.34 | 0.48 | 0.29 | 2
BLE TEST 3.0 |  | TEST1 | DE | 2025-06-09 12:01 | 0.56 | 0.56 | 0.52 | 2
BLE TEST 3.0 |  | TEST3 | DE | 2025-06-09 12:12 | 0.34 | 0.46 | 0.4 | 2
BLE TEST 3.0 |  | TEST4 | DE | 2025-06-09 12:06 | 0.33 | 0.49 | 0.51 | 3
BLE TEST 3.0 |  | TEST6 | DE | 2025-06-09 11:01 | 0.45 | 0.43 | 0.33 | 1
BLE TEST 3.0 |  | TEST9 | DE | 2025-06-10 08:38 | 0.43 | 0.48 | 0.58 | 40
BLE TEST 3.0 |  | TEST10 | DE | 2025-06-09 11:50 | 0.26 | 0.59 | 0.34 | 2
BLE TEST 3.0 |  | SENSOR 1 | DE | 2025-06-10 13:00 | 0.36 | 0.58 | 0.45 | 15
BLE TEST 4.0 |  | PUMP 1 | DE | 2025-06-09 11:05 | 0.46 | 0.68 | 0.44 | 1
BLE TEST 4.0 |  | PUMP 3 | DE | 2025-06-09 11:02 | 0.51 | 0.45 | 0.47 | 1
BLE TEST 4.0 |  | PUMP 4 | DE | 2025-06-09 10:38 | 0.39 | 0.39 | 0.51 | 1
BLE TEST 4.0 |  | PUMP6 | DE | 2025-06-09 10:32 | 0.49 | 0.48 | 0.32 | 1
BLE TEST 4.0 |  | PUMP9 | DE | 2025-06-09 11:07 | 0.27 | 0.38 | 0.38 | 1
BLE TEST 4.0 |  | PUMP10 | DE | 2025-06-09 10:35 | 0.54 | 0.76 | 0.49 | 1
BLE TEST 4.0 |  | PUMP 2 | DE | 2025-06-09 10:29 | 0.39 | 0.43 | 0.37 | 1
BLE TEST 4.0 |  | PUMP5 | DE | 2025-06-10 07:52 | 0.34 | 0.46 | 0.42 | 4
BLE TEST 4.0 |  | PUMP7 | DE | 2025-06-09 11:48 | 0.37 | 0.43 | 0.43 | 1
BLE TEST 4.0 |  | PUMP 8 | DE | 2025-06-09 10:30 | 0.3 | 0.55 | 0.36 | 1
BLE 5.0 |  | 3 | DE | 2025-06-09 12:49 | 0.55 | 0.56 | 0.39 | 1
BLE 5.0 |  | 1 | DE | 2025-06-09 11:36 | 0.28 | 0.38 | 0.36 | 1
BLE 5.0 |  | 2 | DE | 2025-06-09 11:46 | 0.39 | 0.47 | 0.35 | 1
BLE 5.0 |  | 4 | DE | 2025-06-09 11:40 | 0.4 | 0.55 | 0.51 | 1
BLE 5.0 |  | 6 | DE | 2025-06-09 12:05 | 0.5 | 0.48 | 0.39 | 3
BLE 5.0 |  | 7 | DE | 2025-06-11 05:29 | 0.43 | 0.54 | 0.45 | 40
BLE 5.0 |  | 8 | DE | 2025-06-09 10:39 | 0.28 | 0.4 | 0.29 | 1
BLE 5.0 |  | 10 | DE | 2025-06-09 11:08 | 0.37 | 0.46 | 0.43 | 1
BLE 5.0 |  | 5 | DE | 2025-06-09 11:58 | 0.52 | 0.36 | 0.33 | 2
BLE 5.0 |  | 9 | DE | 2025-06-09 11:04 | 0.45 | 0.58 | 0.47 | 1
BLE TEST 6.0 |  | PUMP2 | DE | 2025-06-09 12:46 | 0.41 | 0.52 | 0.37 | 1
BLE TEST 6.0 |  | battery test | DE | No data | No data | No data | No data | 0
BLE TEST 6.0 |  | PUMP1 | DE | 2025-06-10 12:57 | 0.41 | 0.47 | 0.36 | 6
BLE TEST 6.0 |  | PUMP5 | DE | 2025-06-09 11:15 | 0.45 | 0.69 | 0.49 | 1
BLE TEST 6.0 |  | PUMP6 | DE | 2025-06-09 11:10 | 0.4 | 0.6 | 0.36 | 1
BLE TEST 6.0 |  | PUMP8 | DE | 2025-06-09 10:36 | 0.36 | 0.55 | 0.45 | 5
BLE TEST 6.0 |  | PUMP9 | DE | 2025-06-09 10:55 | 0.38 | 0.68 | 0.48 | 72
BLE TEST 6.0 |  | PUMP3 | DE | 2025-06-09 11:43 | 0.41 | 0.43 | 0.29 | 1
BLE TEST 6.0 |  | PUMP4 | DE | 2025-06-09 11:35 | 0.58 | 0.45 | 0.52 | 1
BLE TEST 6.0 |  | PUMP7 | DE | 2025-06-09 11:50 | 0.43 | 0.56 | 0.32 | 1
BLE TEST 6.0 |  | PUMP10 | DE | 2025-06-09 11:59 | 0.33 | 0.5 | 0.42 | 3
wired data |  | 9 | DE | 2025-06-11 09:35 | 0.61 | 0.67 | 0.58 | 369
wired data |  | 1 | DE | 2025-06-11 09:36 | 0.62 | 0.56 | 0.71 | 360
wired data |  | 2 | DE | 2025-06-11 09:35 | 1.07 | 1.24 | 0.85 | 368
wired data |  | 3 | DE | 2025-06-11 08:30 | 0.5 | 0.69 | 0.51 | 5089
wired data |  | 4 | DE | 2025-06-11 08:30 | 0.66 | 0.89 | 0.51 | 166
wired data |  | 5 | DE | 2025-06-11 09:35 | 0.54 | 0.73 | 0.53 | 353
wired data |  | 6 | DE | 2025-06-11 09:36 | 0.68 | 0.59 | 0.59 | 371
wired data |  | 7 | DE | 2025-06-11 08:30 | 0.78 | 0.84 | 0.72 | 159
wired data |  | 8 | DE | 2025-06-18 23:32 | 2.54 | 4.06 | 2.28 | 10663
wired data |  | 10 | DE | 2025-06-11 09:36 | 0.53 | 0.57 | 0.5 | 455
wired data 2 |  | data 2 | DE | 2025-06-11 08:31 | 0.68 | 0.53 | 0.55 | 265
wired data 2 |  | data 4 | DE | 2025-06-11 08:30 | 0.58 | 0.59 | 0.43 | 5105
wired data 2 |  | data 1 | DE | 2025-06-11 07:55 | 0.57 | 0.58 | 0.56 | 48
wired data 2 |  | data 3 | DE | 2025-06-11 08:30 | 0.41 | 0.55 | 0.43 | 5101
wired data 2 |  | data 5 | DE | 2025-06-11 09:33 | 0.48 | 0.51 | 0.46 | 5257
wired data 2 |  | data 6 | DE | 2025-06-11 08:30 | 0.44 | 0.64 | 0.89 | 5110
wired data 2 |  | data 7 | DE | 2025-06-11 09:42 | 0.51 | 0.74 | 0.42 | 5201
AST VIBO |  | AST 2 | DE | 2025-06-12 11:48 | 0.33 | 0.56 | 0.43 | 2
AST VIBO |  | AST 4 | DE | 2025-06-20 16:45 | 0.48 | 0.72 | 0.56 | 74
AST VIBO |  | AST 6 | DE | 2025-06-12 11:54 | 0.27 | 0.5 | 0.51 | 2
AST VIBO |  | AST 7 | DE | 2025-06-12 11:49 | 0.31 | 0.59 | 0.43 | 2
AST VIBO |  | AST 9 | DE | 2025-06-12 11:39 | 0.36 | 0.82 | 0.62 | 3
AST VIBO |  | AST 10 | DE | 2025-06-12 11:46 | 0.28 | 0.79 | 0.42 | 2
AST VIBO |  | AST 1 | DE | 2025-06-12 12:03 | 0.32 | 0.81 | 0.62 | 3
AST VIBO |  | AST 3 | DE | 2025-06-12 12:10 | 0.33 | 0.88 | 0.67 | 2
AST VIBO |  | AST 5 | DE | 2025-06-12 11:40 | 0.34 | 0.74 | 0.4 | 3
AST VIBO |  | AST 8 | DE | No data | No data | No data | No data | 0
AST VIBO |  | AST 11 | DE | 2025-06-12 11:47 | 0.47 | 0.7 | 0.5 | 2
AST VIBO |  | AST 12 | DE | 2025-06-12 11:57 | 0.38 | 0.66 | 0.34 | 3
AST VIBO |  | AST 13 | DE | 2025-06-12 11:47 | 0.36 | 0.72 | 0.59 | 2
AST VIBO |  | AST 14 | DE | 2025-06-12 11:57 | 0.3 | 0.76 | 0.35 | 2
GETWAY TEST |  | 32 | DE | 2025-06-17 10:39 | 0.47 | 0.98 | 0.44 | 53
Motor-1 |  | No endpoints found | [5 empty] | 0
Flexible-1 |  | No endpoints found | [5 empty] | 0
Belt-1 |  | No endpoints found | [5 empty] | 0
Gearbox-1 |  | No endpoints found | [5 empty] | 0
Fan-2 |  | No endpoints found | [5 empty] | 0
TEGA |  | 1 | DE | 2025-06-19 11:30 | 0.56 | 0.64 | 0.54 | 414
TEGA |  | 2 | DE | 2025-06-18 13:08 | 0.44 | 0.75 | 0.43 | 281
TEGA |  | 3 | DE | 2025-06-18 13:09 | 0.52 | 0.78 | 0.59 | 102
TEGA |  | 4 | DE | 2025-06-19 11:30 | 0.54 | 0.68 | 0.47 | 450
TEGA |  | 5 | DE | 2025-06-20 06:54 | 0.52 | 0.57 | 0.54 | 6379
TEGA |  | 6 | DE | 2025-06-19 11:29 | 0.7 | 0.87 | 0.54 | 270
TEGA |  | 8 | DE | 2025-06-19 11:30 | 0.58 | 0.95 | 0.7 | 254
TEGA |  | 9 | DE | 2025-06-18 13:08 | 0.43 | 0.52 | 0.4 | 155
TEGA |  | 7 | DE | 2025-06-19 11:30 | 0.51 | 0.61 | 0.47 | 438
TEGA |  | 10 | DE | 2025-06-18 12:39 | 0.86 | 1.12 | 0.71 | 7
wired data 2 - Copy |  | data 3 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 4 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 2 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 1 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 6 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 5 | DE | No data | No data | No data | No data | 0
wired data 2 - Copy |  | data 7 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 1 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 2 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 3 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 4 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 6 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 5 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 7 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 8 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 9 | DE | No data | No data | No data | No data | 0
wired data - Copy |  | 10 | DE | No data | No data | No data | No data | 0
battery improvement |  | 2C:BC:BB:62:0A:50 | DE | 2025-06-23 12:30 | 0.48 | 0.53 | 0.48 | 14579
battery improvement |  | test kamal | DE | No data | No data | No data | No data | 0
battery improvement |  | FF:29:F1:7E:FA:69 | DE | 2025-06-23 11:51 | 0.42 | 0.87 | 0.5 | 1968

## Summary
Metric | Value
Total Parent Assets | 95
Total Child Assets | 12
Total Endpoints | 521
Endpoints with Data | 456
Endpoints without Data | 65
Average Data Points per Endpoint | 1764.9463